Copyright 2014 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This Product MasterSpec Section is licensed by ARCOM to ADFAST, Inc. ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, ARCOM or The American Institute of Architects (AIA). Neither AIA nor ARCOM are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact ADFAST, Inc., 12840, Pennridge Dr., Bridgeton, MO 63044; Phone: (314) 209-0075; Fax: (314) 209-0325; Website: www.adfastcorp.com; Email: masterspec@adfastcorp.com.

For information about MasterSpec, contact ARCOM at (800) 424-5080 or visit www.MasterSpec.com.

SECTION 079200 - JOINT SEALANTS

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

RELATED DOCUMENTS

Retain or delete this article in all Sections of Project Manual.

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

SUMMARY

Section Includes:

Silicone joint sealants.

Nonstaining silicone joint sealants.

Urethane joint sealants.

Immersible joint sealants.

Silyl-terminated polyether joint sealants.

Mildew-resistant joint sealants.

Polysulfide joint sealants.

Butyl joint sealants.

Latex joint sealants.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 079100 "Preformed Joint Seals" for preformed compressible foam and precured joint seals.

Section 079219 "Acoustical Joint Sealants" for sealing joints in sound-rated construction.

Section 321373 "Concrete Paving Joint Sealants" for sealing joints in paved roads, parking lots, walkways, and curbing.

PREINSTALLATION MEETINGS

Retain "Preinstallation Conference" Paragraph below if Work of this Section is extensive or complex enough to justify a conference.

Preinstallation Conference: Conduct conference at [Project site] <Insert location>.

If needed, insert list of conference participants not mentioned in Section 013100 "Project Management and Coordination."

ACTION SUBMITTALS

Product Data: For each joint-sealant product.

Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes. Coordinate with requirements for sealants.

Product Data: For sealants, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED 2009 for Schools, LEED v4, IgCC, ASHRAE 189.1, and Green Globes. Coordinate with requirements for sealants.

Laboratory Test Reports: For sealants, indicating compliance with requirements for low-emitting materials.

Retain "Samples for Initial Selection" and "Samples for Verification" paragraphs for two-stage Samples.

Samples for Initial Selection: Manufacturer's color charts consisting of strips of cured sealants showing the full range of colors available for each product exposed to view.

Samples for Verification: For each kind and color of joint sealant required, provide Samples with joint sealants in 1/2-inch (13-mm) wide joints formed between two 6-inch (150-mm) long strips of material matching the appearance of exposed surfaces adjacent to joint sealants.

Joint-Sealant Schedule: Include the following information:

Joint-sealant application, joint location, and designation.

Joint-sealant manufacturer and product name.

Joint-sealant formulation.

Joint-sealant color.

INFORMATIONAL SUBMITTALS

Coordinate "Qualification Data" Paragraph below with qualification requirements in Section 014000 "Quality Requirements" and as may be supplemented in "Quality Assurance" Article.

Qualification Data: For qualified testing agency.

Product Test Reports: For each kind of joint sealant, for tests performed by [manufacturer and witnessed by a qualified testing agency] [a qualified testing agency].

Preconstruction Laboratory Test Schedule: Include the following information for each joint sealant and substrate material to be tested:

Joint-sealant location and designation.

Manufacturer and product name.

Type of substrate material.

Proposed test.

Number of samples required.

Retain "Preconstruction Laboratory Test Reports" and "Preconstruction Field-Adhesion-Test Reports" paragraphs below if specifying preconstruction testing in "Preconstruction Testing" Article.

Preconstruction Laboratory Test Reports: From sealant manufacturer, indicating the following:

Materials forming joint substrates and joint-sealant backings have been tested for compatibility and adhesion with joint sealants.

Interpretation of test results and written recommendations for primers and substrate preparation are needed for adhesion.

Preconstruction Field-Adhesion-Test Reports: Indicate which sealants and joint preparation methods resulted in optimum adhesion to joint substrates based on testing specified in "Preconstruction Testing" Article.

Retain "Field-Adhesion-Test Reports" Paragraph below if Contractor is responsible for field quality-control testing.

Field-Adhesion-Test Reports: For each sealant application tested.

Sample Warranties: For special warranties.

QUALITY ASSURANCE

Installer Qualifications: An authorized representative who is trained and approved by manufacturer.

Product Testing: Test joint sealants using a qualified testing agency.

Testing Agency Qualifications: Qualified according to ASTM C 1021 to conduct the testing indicated.

Mockups: Install sealant in mockups of assemblies specified in other Sections that are indicated to receive joint sealants specified in this Section. Use materials and installation methods specified in this Section.

PRECONSTRUCTION TESTING

Testing in "Preconstruction Laboratory Testing" Paragraph below is performed off-site by sealant manufacturer. Tests require many Samples, and some tests may require up to seven weeks to complete. If retaining below, also retain "Preconstruction Laboratory Test Reports" Paragraph in "Informational Submittals" Article. Add other testing as required.

Preconstruction Laboratory Testing: Submit to joint-sealant manufacturers, for testing indicated below, samples of materials that will contact or affect joint sealants.

ASTM C 794 test in "Adhesion Testing" Subparagraph below is included as part of ASTM C 920 testing required for elastomeric sealants in this Section; retain below to require additional testing for specific substrates if required.

Adhesion Testing: Use ASTM C 794 to determine whether priming and other specific joint preparation techniques are required to obtain rapid, optimum adhesion of joint sealants to joint substrates.

Compatibility Testing: Use ASTM C 1087 to determine sealant compatibility when in contact with glazing and gasket materials.

Retain "Stain Testing" Subparagraph below especially for silicones applied to marble, limestone, granite, sandstone, brick, or other porous substrates.

Stain Testing: Use ASTM C 1248 to determine stain potential of sealant when in contact with [stone] [masonry] <Insert substrate> substrates.

Submit manufacturer's recommended number of pieces of each type of material, including joint substrates, joint-sealant backings, and miscellaneous materials.

Schedule sufficient time for testing and analyzing results to prevent delaying the Work.

For materials failing tests, obtain joint-sealant manufacturer's written instructions for corrective measures, including use of specially formulated primers.

Retain subparagraph below if generic test data are acceptable.

Testing will not be required if joint-sealant manufacturers submit data that are based on previous testing, not older than 24 months, of sealant products for adhesion to, staining of, and compatibility with joint substrates and other materials matching those submitted.

Testing in "Preconstruction Field-Adhesion Testing" Paragraph below is performed on-site, either on field-constructed mock-ups or on actual construction, but far enough in advance of sealant work to allow curing of sealants and retesting if necessary. If retaining below, also retain "Preconstruction Field-Adhesion-Test Reports" Paragraph in "Informational Submittals" Article.

Preconstruction Field-Adhesion Testing: Before installing sealants, field test their adhesion to Project joint substrates as follows:

Locate test joints where indicated on Project or, if not indicated, as directed by Architect.

Conduct field tests for each kind of sealant and joint substrate.

Notify Architect seven days in advance of dates and times when test joints will be erected.

Retain first subparagraph below if required. Before retaining, determine availability of manufacturer's representative.

Arrange for tests to take place with joint-sealant manufacturer's technical representative present.

First method in "Test Method" Subparagraph below is the first of four test methods recommended in Appendix X1.1 in ASTM C 1193. Second method is one of two destructive test methods recommended in ASTM C 1521. Revise below if another test method is more appropriate for Project joint conditions.

Test Method: Test joint sealants according to Method A, Field-Applied Sealant Joint Hand Pull Tab, in Appendix X1.1 in ASTM C 1193 or Method A, Tail Procedure, in ASTM C 1521.

For joints with dissimilar substrates, verify adhesion to each substrate separately; extend cut along one side, verifying adhesion to opposite side. Repeat procedure for opposite side.

Report whether sealant failed to adhere to joint substrates or tore cohesively. Include data on pull distance used to test each kind of product and joint substrate. For sealants that fail adhesively, retest until satisfactory adhesion is obtained.

Evaluation of Preconstruction Field-Adhesion-Test Results: Sealants not evidencing adhesive failure from testing, in absence of other indications of noncompliance with requirements, will be considered satisfactory. Do not use sealants that fail to adhere to joint substrates during testing.

FIELD CONDITIONS

Do not proceed with installation of joint sealants under the following conditions:

When ambient and substrate temperature conditions are outside limits permitted by joint-sealant manufacturer[ or are below 40 deg F (5 deg C)].

When joint substrates are wet.

Where joint widths are less than those allowed by joint-sealant manufacturer for applications indicated.

Where contaminants capable of interfering with adhesion have not yet been removed from joint substrates.

WARRANTY

When warranties are required, verify with Owner's counsel that special warranties stated in this article are not less than remedies available to Owner under prevailing local laws.

Special Installer's Warranty: Installer agrees to repair or replace joint sealants that do not comply with performance and other requirements specified in this Section within specified warranty period.

Verify available warranties and warranty periods for joint-sealant installation.

Warranty Period: [Two] <Insert number> years from date of Substantial Completion.

Special Manufacturer's Warranty: Manufacturer agrees to furnish joint sealants to repair or replace those joint sealants that do not comply with performance and other requirements specified in this Section within specified warranty period.

Verify available warranties and warranty periods for joint sealants.

Warranty Period: [Five] <Insert number> years from date of Substantial Completion.

Special warranties specified in this article exclude deterioration or failure of joint sealants from the following:

Movement of the structure caused by stresses on the sealant exceeding sealant manufacturer's written specifications for sealant elongation and compression.

Disintegration of joint substrates from causes exceeding design specifications.

Mechanical damage caused by individuals, tools, or other outside agents.

Changes in sealant appearance caused by accumulation of dirt or other atmospheric contaminants.

PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or ARCOM. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

JOINT SEALANTS, GENERAL

Compatibility: Provide joint sealants, backings, and other related materials that are compatible with one another and with joint substrates under conditions of service and application, as demonstrated by joint-sealant manufacturer, based on testing and field experience.

Paragraph below applies to LEED 2009 NC, CI, and CS; LEED v4; IgCC; ASHRAE 189.1; and Green Globes.

VOC Content: Sealants and sealant primers shall comply with the following:

Architectural sealants shall have a VOC content of 250 g/L or less.

Sealants and sealant primers for nonporous substrates shall have a VOC content of [250] g/L or less.

Sealants and sealant primers for porous substrates shall have a VOC content of 775 g/L or less.

Subparagraph below applies to LEED v4.

Sealant shall comply with the testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

Retain "Colors of Exposed Joint Sealants" Paragraph below if sealant colors are not specified in the "Joint-Sealant Schedule" Article or on Drawings.

Colors of Exposed Joint Sealants: [As indicated by manufacturer's designations] [Match Architect's samples] [As selected by Architect from manufacturer's full range].

SILICONE JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Silicone, S, NS, 100/50, NT: Single-component, nonsag, plus 100 percent and minus 50 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Use NT.

Retain "Manufacturers" Paragraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Previous note applies to each “Manufacturers” Subparagraph below.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

GE Construction Sealants; Momentive Performance Materials Inc.

<Insert manufacturer’s name>.

Silicone, S, NS, 50, NT: Single-component, nonsag, plus 50 percent and minus 50 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Use NT.

Retain "Basis-of-Design Product" Paragraph and list of manufacturers below to identify a specific product or a comparable product from manufacturers listed. Retain option and delete insert note if manufacturer's name and model number are indicated on Drawings.

Previous note applies to each “Basis-of-Design Product” Subparagraph below.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal 4580 Series or comparable product by one of the following:

Dow Corning Corporation.

GE Construction Sealants; Momentive Performance Materials Inc.

<Insert manufacturer’s name>.

Silicone, S, NS, 35, NT: Single-component, nonsag, plus 35 percent and minus 35 percent movement capability. nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 35, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Corning Corporation.

GE Construction Sealants; Momentive Performance Materials Inc.

<Insert manufacturer’s name>.

Silicone, S, NS, 25, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Corning Corporation.

GE Construction Sealants; Momentive Performance Materials Inc.

Pecora Corporation.

Polymeric Systems, Inc.

Schnee-Morehead, Inc., an ITW company.

Sherwin-Williams Company (The).

<Insert manufacturer’s name>.

Silicone, Acid Curing, S, NS, 25, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, acid-curing silicone joint sealant: ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal 4800 Series or comparable product by one of the following:

Dow Corning Corporation.

Pecora Corporation.

<Insert manufacturer’s name>.

Silicone, S, NS, 100/50, T, NT: Single-component, nonsag, plus 100 percent and minus 50 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Corning Corporation.

May National Associates, Inc.; a subsidiary of Sika Corporation.

Pecora Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Silicone, S, NS, 50, T, NT: Single-component, nonsag, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Corning Corporation.

Soudal USA.

<Insert manufacturer’s name>.

Silicone, S, NS, 25, T, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - May National Associates, Inc.; a subsidiary of Sika Corporation.

Pecora Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Silicone, S, P, 100/50, T, NT: Single-component, pourable, plus 100 percent and minus 50 percent movement capability traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade P, Class 100/50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

May National Associates, Inc.; a subsidiary of Sika Corporation.

Pecora Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Silicone, S, P, 25, T, NT: Single-component, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade P, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

May National Associates, Inc.; a subsidiary of Sika Corporation.

<Insert manufacturer’s name>.

Silicone, M, P, 100/50, T, NT: Multicomponent, pourable, plus 100 percent and minus 50 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type M, Grade P, Class 100/50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

May National Associates, Inc.; a subsidiary of Sika Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

NONSTAINING SILICONE JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Nonstaining Joint Sealants: No staining of substrates when tested according to ASTM C 1248.

Silicone, Nonstaining, S, NS, 100/50, NT: Nonstaining, single-component, nonsag, plus 100 percent and minus 50 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

May National Associates, Inc.; a subsidiary of Sika Corporation.

Pecora Corporation.

Sika Corporation; Joint Sealants.

Tremco Incorporated.

<Insert manufacturer’s name>.

Silicone, Nonstaining, S, NS, 50, NT: Nonstaining, single-component, nonsag, plus 50 percent and minus 50 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Use NT.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal 4580 Series or comparable product by one of the following:

Dow Corning Corporation.

GE Construction Sealants; Momentive Performance Materials Inc.

<Insert manufacturer’s name>.

Silicone, Nonstaining, S, NS, 100/50, T, NT: Nonstaining, single-component, nonsag, plus 100 percent and minus 50 percent movement capability, traffic- and nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Dow Corning Corporation.

<Insert manufacturer’s name>.

Silicone, Nonstaining, M, NS, 50, NT: Nonstaining, multicomponent, nonsag, plus 50 percent and minus 50 percent movement capability, nontraffic-use, neutral-curing silicone joint sealant; ASTM C 920, Type M, Grade NS, Class 50, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Tremco Incorporated.

<Insert manufacturer’s name>.

URETHANE JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Urethane, S, NS, 25, NT: Single-component, nonsag, nontraffic-use, plus 25 percent and minus 25 percent movement capability, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Bostik, Inc.

ER Systems; an ITW Company.

Pecora Corporation.

Polymeric Systems, Inc.

Schnee-Morehead, Inc., an ITW company.

Sherwin-Williams Company (The).

Sika Corporation; Joint Sealants.

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, S, NS, 100/50, T, NT: Single-component, nonsag, plus 100 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Urethane, S, NS, 25, T, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

LymTal International Inc.

<Insert manufacturer’s name>.

Urethane, S, P, 35, T, NT: Single-component, pourable, plus 35 percent and minus 35 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade P, Class 35, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Bostik, Inc.

<Insert manufacturer’s name>.

Urethane, S, P, 25, T, NT: Single-component, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade P, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Pecora Corporation.

Polymeric Systems, Inc.

Schnee-Morehead, Inc., an ITW company.

Sherwin-Williams Company (The).

<Insert manufacturer’s name>.

Urethane, M, NS, 50, NT: Multicomponent, nonsag, plus 50 percent and minus 50 percent movement capability nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 50, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Pecora Corporation.

<Insert manufacturer’s name>.

Urethane, M, NS, 25, NT: Multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Sherwin-Williams Company (The).

<Insert manufacturer’s name>.

Urethane, M, NS, 50, T, NT: Multicomponent, nonsag, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, M, NS, 25, T, NT: Multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Bostik, Inc.

LymTal International Inc.

Pecora Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Urethane, M, P, 50, T, NT: Multicomponent, pourable, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade P, Class 50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

LymTal International Inc.

<Insert manufacturer’s name>.

Urethane, M, P, 25, T, NT: Multicomponent, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade P, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Bostik, Inc.

LymTal International Inc.

Pecora Corporation.

Sherwin-Williams Company (The).

Sika Corporation; Joint Sealants.

Tremco Incorporated.

<Insert manufacturer’s name>.

IMMERSIBLE JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Immersible Joint Sealants. Suitable for immersion in liquids; ASTM C 1247, [Class 1] [Class 2]; tested in deionized water unless otherwise indicated

Urethane, Immersible, S, NS, 100/50, NT, I: Immersible, single-component, nonsag, plus 100 percent and minus 50 percent movement capability, nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 100/50, Uses NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, Immersible, S, NS, 35, NT, I: Immersible, single-component, nonsag, plus 35 percent and minus 35 percent movement capability, nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 35, Use NT and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

<Insert manufacturer’s name>.

Urethane, Immersible, S, NS, 50, T, NT, I: Immersible, single-component, nonsag, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, Immersible, S, NS, 35, T, NT, I: Immersible, single-component, nonsag, plus 35 percent and minus 35 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 35, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Urethane, Immersible, S, NS, 25, T, NT, I: Immersible, single-component, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Pecora Corporation.

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, Immersible, S, P, 50, T, NT, I: Immersible, single-component, pourable, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade P, Class 50, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, Immersible, S, P, 25, T, NT, I: Immersible, single-component, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type S, Grade P, Class 25, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Sika Corporation; Joint Sealants.

Tremco Incorporated.

W. R. Meadows, Inc.

<Insert manufacturer’s name>.

Polysulfide, Immersible, M, NS, 25, NT, I: Immersible, multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, polysulfide joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Uses NT and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Polymeric Systems, Inc.

<Insert manufacturer’s name>.

Urethane, Immersible, M, NS, 50, T, NT, I: Immersible, multicomponent, nonsag, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 50, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

LymTal International Inc.

Tremco Incorporated.

<Insert manufacturer’s name>.

Urethane, Immersible, M, NS, 25, T, NT, I: Immersible, multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Pecora Corporation.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

Polysulfide, Immersible, M, NS, 25, T, NT, I: Immersible, multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, polysulfide joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Pecora Corporation.

<Insert manufacturer’s name>.

Urethane, Immersible, M, P, 25, T, NT, I: Immersible, multicomponent, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, urethane joint sealant; ASTM C 920, Type M, Grade P, Class 25, Uses T, NT, and I.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

LymTal International Inc.

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

SILYL-TERMINATED POLYETHER (STPE) JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

STPE, S, NS, 50, NT: Single-component, nonsag, plus 50 percent and minus 50 percent movement capability, nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

GE Construction Sealants; Momentive Performance Materials Inc.

Pecora Corporation.

Sherwin-Williams Company (The).

Sika Corporation; Joint Sealants.

<Insert manufacturer’s name>.

STPE, S, NS, 35, NT: Single-component, nonsag, plus 35 percent and minus 35 percent movement capability, nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 35, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

Tremco Incorporated.

<Insert manufacturer’s name>.

STPE, S, NS, 25, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Franklin International.

May National Associates, Inc.; a subsidiary of Sika Corporation.

Polymeric Systems, Inc.

Schnee-Morehead, Inc., an ITW company.

<Insert manufacturer’s name>.

STPE, S, NS, 100/50, T, NT: Single-component, nonsag, plus 100 percent and minus 50 percent movement capability, traffic- and nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 100, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Soudal USA.

<Insert manufacturer’s name>.

STPE, S, NS, 50, T, NT: Single-component, nonsag, plus 50 percent and minus 50 percent movement capability, traffic- and nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Franklin International.

Soudal USA.

<Insert manufacturer’s name>.

STPE, S, NS, 35, T, NT: Single-component, nonsag, plus 35 percent and minus 35 percent movement capability, traffic- and nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 35, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Soudal USA.

<Insert manufacturer’s name>.

STPE, S, NS, 25, T, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Soudal USA.

<Insert manufacturer’s name>.

STPE, S, P, 25, T, NT: Single-component, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade P, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

            - Franklin International.

Soudal USA.

<Insert manufacturer’s name>.

MILDEW-RESISTANT JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Mildew-Resistant Joint Sealants: Formulated for prolonged exposure to humidity with fungicide to prevent mold and mildew growth.

Silicone, Mildew Resistant, Acid Curing, S, NS, 25, NT: Mildew-resistant, single-component, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, acid-curing silicone joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal 4800 Series or comparable product by one of the following:

Dow Corning Corporation.

GE Construction Sealants; Momentive Performance Materials Inc.

<Insert manufacturer’s name>.

STPE, Mildew Resistant, S, NS, 50, NT: Mildew-resistant, single-component, nonsag, plus 50 percent and minus 50 percent movement capability, nontraffic-use, silyl-terminated polyether joint sealant; ASTM C 920, Type S, Grade NS, Class 50, Use NT.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

BASF Corporation; Construction Systems.

<Insert manufacturer’s name>.

POLYSULFIDE JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Polysulfide, S, NS, 25, NT: Single-component, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, polysulfide joint sealant; ASTM C 920, Type S, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

W. R. Meadows, Inc.

<Insert manufacturer’s name>.

Polysulfide, M, NS, 25, T, NT: Multicomponent, nonsag, plus 25 percent and minus 25 percent movement capability, nontraffic-use, polysulfide joint sealant; ASTM C 920, Type M, Grade NS, Class 25, Use NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

W. R. Meadows, Inc.

<Insert manufacturer’s name>.

Polysulfide, M, P, 25, T, NT: Multicomponent, pourable, plus 25 percent and minus 25 percent movement capability, traffic- and nontraffic-use, polysulfide joint sealant; ASTM C 920, Type M, Grade P, Class 25, Uses T and NT.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

W. R. Meadows, Inc.

<Insert manufacturer’s name>.

BUTYL JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

Butyl-Rubber-Based Joint Sealants: ASTM C 1311.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Bostik, Inc.

Pecora Corporation.

<Insert manufacturer’s name>.

LATEX JOINT SEALANTS

Coordinate paragraphs in this article with "Joint-Sealant Schedule" Article.

In addition to Type OP (for opaque sealants containing color or extended pigments) in "Acrylic Latex" Paragraph below, ASTM C 834 includes Type C (for clear or translucent sealants). Also, in addition to Grade NF (not tested for low-temperature flexibility) in paragraph below, ASTM C 834 includes Grades minus 18 deg C and zero deg C (for sealants that comply with requirements for flexibility at minus 18 deg C and zero deg C, respectively).

Acrylic Latex: Acrylic latex or siliconized acrylic latex, ASTM C 834, Type OP, Grade NF.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal 1090 Series or comparable product by one of the following:

Pecora Corporation.

Tremco Incorporated.

<Insert manufacturer’s name>.

JOINT-SEALANT BACKING

Sealant Backing Material, General: Nonstaining; compatible with joint substrates, sealants, primers, and other joint fillers; and approved for applications indicated by sealant manufacturer based on field experience and laboratory testing.

          - Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Alcot Plastics Ltd.

BASF Corporation; Construction Systems.

Construction Foam Products; a division of Nomaco, Inc.

<Insert manufacturer’s name>.

Retain, at minimum, one of first three options in "Cylindrical Sealant Backings" Paragraph below; if retaining more than one, also retain fourth option. Verify, with joint-sealant manufacturers, the suitability of each material for sealants selected. Type O sealant backings, which are open-cell urethane foams, are unsuitable for horizontal surfaces. See the Evaluations.

Cylindrical Sealant Backings: ASTM C 1330, Type B (bicellular material with a surface skin) and of size and density to control sealant depth and otherwise contribute to producing optimum sealant performance.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal BR 2600.

Bond-Breaker Tape: Polyethylene tape or other plastic tape recommended by sealant manufacturer for preventing sealant from adhering to rigid, inflexible joint-filler materials or joint surfaces at back of joint. Provide self-adhesive tape where applicable.

MISCELLANEOUS MATERIALS

Retain "Primer" Paragraph below if joint priming is required.

Primer: Material recommended by joint-sealant manufacturer where required for adhesion of sealant to joint substrates indicated, as determined from preconstruction joint-sealant-substrate tests and field tests.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal Primer MK 60095.

Cleaners for Nonporous Surfaces: Chemical cleaners acceptable to manufacturers of sealants and sealant backing materials, free of oily residues or other substances capable of staining or harming joint substrates and adjacent nonporous surfaces in any way, and formulated to promote optimum adhesion of sealants to joint substrates.

          - Basis-of-Design Product: Subject to compliance with requirements, provide ADFAST, Inc.; Adseal Cleaner 6003.

Masking Tape: Nonstaining, nonabsorbent material compatible with joint sealants and surfaces adjacent to joints.

EXECUTION

EXAMINATION

Examine joints indicated to receive joint sealants, with Installer present, for compliance with requirements for joint configuration, installation tolerances, and other conditions affecting performance of the Work.

Proceed with installation only after unsatisfactory conditions have been corrected.

PREPARATION

Surface Cleaning of Joints: Clean out joints immediately before installing joint sealants to comply with joint-sealant manufacturer's written instructions and the following requirements:

Remove all foreign material from joint substrates that could interfere with adhesion of joint sealant, including dust, paints (except for permanent, protective coatings tested and approved for sealant adhesion and compatibility by sealant manufacturer), old joint sealants, oil, grease, waterproofing, water repellents, water, surface dirt, and frost.

Clean porous joint substrate surfaces by brushing, grinding, mechanical abrading, or a combination of these methods to produce a clean, sound substrate capable of developing optimum bond with joint sealants. Remove loose particles remaining after cleaning operations above by vacuuming or blowing out joints with oil-free compressed air. Porous joint substrates include the following:

Retain porous substrates in first four subparagraphs below if applicable. Insert additional items to suit Project.

Concrete.

Masonry.

Unglazed surfaces of ceramic tile.

Exterior insulation and finish systems.

<Insert other porous joint substrate>.

Remove laitance and form-release agents from concrete.

Clean nonporous joint substrate surfaces with chemical cleaners or other means that do not stain, harm substrates, or leave residues capable of interfering with adhesion of joint sealants. Nonporous joint substrates include the following:

Retain nonporous substrates in subparagraphs below if applicable. Insert additional items to suit Project.

Metal.

Glass.

Porcelain enamel.

Glazed surfaces of ceramic tile.

<Insert other nonporous joint substrate>.

Joint Priming: Prime joint substrates where recommended by joint-sealant manufacturer or as indicated by preconstruction joint-sealant-substrate tests or prior experience. Apply primer to comply with joint-sealant manufacturer's written instructions. Confine primers to areas of joint-sealant bond; do not allow spillage or migration onto adjoining surfaces.

Masking Tape: Use masking tape where required to prevent contact of sealant or primer with adjoining surfaces that otherwise would be permanently stained or damaged by such contact or by cleaning methods required to remove sealant smears. Remove tape immediately after tooling without disturbing joint seal.

INSTALLATION OF JOINT SEALANTS

General: Comply with joint-sealant manufacturer's written installation instructions for products and applications indicated, unless more stringent requirements apply.

Sealant Installation Standard: Comply with recommendations in ASTM C 1193 for use of joint sealants as applicable to materials, applications, and conditions indicated.

Install sealant backings of kind indicated to support sealants during application and at position required to produce cross-sectional shapes and depths of installed sealants relative to joint widths that allow optimum sealant movement capability.

Do not leave gaps between ends of sealant backings.

Do not stretch, twist, puncture, or tear sealant backings.

Remove absorbent sealant backings that have become wet before sealant application, and replace them with dry materials.

Retain first paragraph below for sealants installed in moving joints without sealant backings.

Install bond-breaker tape behind sealants where sealant backings are not used between sealants and backs of joints.

Install sealants using proven techniques that comply with the following and at the same time backings are installed:

Place sealants so they directly contact and fully wet joint substrates.

Completely fill recesses in each joint configuration.

Produce uniform, cross-sectional shapes and depths relative to joint widths that allow optimum sealant movement capability.

Tooling of Nonsag Sealants: Immediately after sealant application and before skinning or curing begins, tool sealants according to requirements specified in subparagraphs below to form smooth, uniform beads of configuration indicated; to eliminate air pockets; and to ensure contact and adhesion of sealant with sides of joint.

Remove excess sealant from surfaces adjacent to joints.

Use tooling agents that are approved in writing by sealant manufacturer and that do not discolor sealants or adjacent surfaces.

Retain one or more of three subparagraphs below to suit joint configurations required for Project. First subparagraph makes concave configuration the default requirement; second and third subparagraphs require that other configurations be indicated on Drawings. Revise if one of the latter two configurations is the default requirement.

Provide concave joint profile per Figure 8A in ASTM C 1193 unless otherwise indicated.

Provide flush joint profile at [locations indicated on Drawings] <Insert locations> according to Figure 8B in ASTM C 1193.

Provide recessed joint configuration of recess depth and at [locations indicated on Drawings] <Insert locations> according to Figure 8C in ASTM C 1193.

Use masking tape to protect surfaces adjacent to recessed tooled joints.

FIELD QUALITY CONTROL

Revise "Field-Adhesion Testing" Paragraph below if Owner engages an independent testing agency to perform tests. Testing described below is generally required by sealant manufacturer if warranty is required.

Field-Adhesion Testing: Field test joint-sealant adhesion to joint substrates as follows:

Extent of Testing: Test completed and cured sealant joints as follows:

First two subparagraphs below are examples only. Revise to suit Project.

Perform [10] <Insert number> tests for the first [1000 feet (300 m)] <Insert dimension> of joint length for each kind of sealant and joint substrate.

Perform one test for each [1000 feet (300 m)] <Insert dimension> of joint length thereafter or one test per each floor per elevation.

First method in "Test Method" Subparagraph below is the first of four test methods recommended in Appendix X1.1 in ASTM C 1193. Second method is one of two destructive test methods recommended in ASTM C 1521. Revise if another test method is more appropriate for Project joint conditions.

Test Method: Test joint sealants according to Method A, Field-Applied Sealant Joint Hand Pull Tab, in Appendix X1 in ASTM C 1193 or Method A, Tail Procedure, in ASTM C 1521.

For joints with dissimilar substrates, verify adhesion to each substrate separately; extend cut along one side, verifying adhesion to opposite side. Repeat procedure for opposite side.

Inspect tested joints and report on the following:

Whether sealants filled joint cavities and are free of voids.

Whether sealant dimensions and configurations comply with specified requirements.

Whether sealants in joints connected to pulled-out portion failed to adhere to joint substrates or tore cohesively. Include data on pull distance used to test each kind of product and joint substrate. Compare these results to determine if adhesion complies with sealant manufacturer's field-adhesion hand-pull test criteria.

Record test results in a field-adhesion-test log. Include dates when sealants were installed, names of persons who installed sealants, test dates, test locations, whether joints were primed, adhesion results and percent elongations, sealant material, sealant configuration, and sealant dimensions.

Repair sealants pulled from test area by applying new sealants following same procedures used originally to seal joints. Ensure that original sealant surfaces are clean and that new sealant contacts original sealant.

Evaluation of Field-Adhesion-Test Results: Sealants not evidencing adhesive failure from testing or noncompliance with other indicated requirements will be considered satisfactory. Remove sealants that fail to adhere to joint substrates during testing or to comply with other requirements. Retest failed applications until test results prove sealants comply with indicated requirements.

CLEANING

Clean off excess sealant or sealant smears adjacent to joints as the Work progresses by methods and with cleaning materials approved in writing by manufacturers of joint sealants and of products in which joints occur.

PROTECTION

Protect joint sealants during and after curing period from contact with contaminating substances and from damage resulting from construction operations or other causes so sealants are without deterioration or damage at time of Substantial Completion. If, despite such protection, damage or deterioration occurs, cut out, remove, and repair damaged or deteriorated joint sealants immediately so installations with repaired areas are indistinguishable from original work.

JOINT-SEALANT SCHEDULE

Joint-sealant applications in this article represent only a limited number of examples; modify to suit Project. For projects with more than one kind or color of sealant for joint locations listed, copy paragraphs and create an additional set of requirements and products for each variation.

For each joint sealant scheduled, retain corresponding product requirements in Part 2 that reference sealant standards, specify product properties and, if required, name manufacturers and products.

If designations are retained in "Joint-Sealant Application" paragraphs below, insert number to complete designation. Coordinate with designations used on Drawings.

Joint-Sealant Application: Exterior joints in horizontal traffic surfaces[ <JS-#>].

Joint Locations:

Joint sealants in paved roads, parking lots, walkways, and curbing are specified in Section 321373 "Concrete Paving Joint Sealants."

Control and expansion joints in brick pavers.

Isolation and contraction joints in cast-in-place concrete slabs.

Joints between plant-precast architectural concrete paving units.

Joints in stone paving units[, including steps].

Tile control and expansion joints.

Joints between different materials listed above.

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only.

Joint Sealant: [Urethane, M, P, 50, T, NT] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Exterior joints in horizontal traffic surfaces subject to water immersion[ <JS-#>].

Joint Locations:

Joints in pedestrian plazas.

Joints in swimming pool decks.

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only.

Joint Sealant: [Urethane, immersible, S, P, 25, T, NT, I] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Exterior joints in vertical surfaces and horizontal nontraffic surfaces[ <JS-#>].

Joint Locations:

Construction joints in cast-in-place concrete.

Joints between plant-precast architectural concrete units.

Control and expansion joints in unit masonry.

Joints in dimension stone cladding.

Joints in glass unit masonry assemblies.

Joints in exterior insulation and finish systems.

Joints between metal panels.

Joints between different materials listed above.

Perimeter joints between materials listed above and frames of [doors] [windows] [and] [louvers].

Control and expansion joints in [ceilings] [and other] [overhead surfaces].

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only.

Joint Sealant: [Silicone, nonstaining, S, NS, 50, NT] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Interior joints in horizontal traffic surfaces[ <JS-#>].

Joint Locations:

Isolation joints in cast-in-place concrete slabs.

Control and expansion joints in stone flooring.

Control and expansion joints in brick flooring.

Control and expansion joints in tile flooring.

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only

Joint Sealant: [Urethane, S, P, 25, T, NT] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Interior joints in vertical surfaces and horizontal nontraffic surfaces[ <JS-#>].

Joint Locations:

Control and expansion joints on exposed interior surfaces of exterior walls.

Tile control and expansion joints.

Vertical joints on exposed surfaces of [unit masonry] [concrete] [walls] [and] [partitions].

Joints on underside of plant-precast structural concrete [beams] [and] [planks].

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only.

Joint Sealant: [Urethane, S, NS, 25, NT] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Interior joints in vertical surfaces and horizontal nontraffic surfaces not subject to significant movement[ <JS-#>].

Joint Locations:

Control joints on exposed interior surfaces of exterior walls.

Perimeter joints between interior wall surfaces and frames of [interior doors] [windows] [and] [elevator entrances].

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only.

Joint Sealant: [Acrylic latex] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Mildew-resistant interior joints in vertical surfaces and horizontal nontraffic surfaces[ <JS-#>].

Joint Locations:

Joints between plumbing fixtures and adjoining walls, floors, and counters.

Tile control and expansion joints where indicated.

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only

Joint Sealant: [Silicone, mildew resistant, acid curing, S, NS, 25, NT] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

Joint-Sealant Application: Concealed mastics[ <JS-#>].

Joint Locations:

Aluminum thresholds.

Sill plates.

<Insert other joints>.

Other joints as indicated on Drawings.

Insert type of joint sealant in "Joint Sealant" Subparagraph below; coordinate with Part 2. First option is example only

Joint Sealant: [Butyl-rubber based] <Insert joint sealant>.

Joint-Sealant Color: [As indicated by manufacturer's designations] [Match Architect's sample] [As selected by Architect from manufacturer's full range of colors] <Insert color>.

END OF SECTION 079200